## Cost Plan
SYNTHETIC SAMPLE - NOT REAL DATA - PPM pipeline fixture
Project: PPM SYNTHETIC BETA
Date: 2025-01-20
Stage: tender
Area basis: GFA
GFA (m2): 12500
Rate basis: all_in
Location: Jakarta
Sector: infrastructure
Client: PT SYNTHETIC CLIENT - strip this, never index it
No | Element Code | Description | Unit | Qty | Rate (IDR) | Amount (IDR) | Spec Level
1 | A10 | Demolition of existing structure | m3 | 2650 | 210000 | 556500000 | low
2 | B10 | Bored pile 600mm diameter | m | 4200 | 1650000 | 6930000000 | low
3 | B15 | Pile testing, static load | nr | 12 | 185000000 | 2220000000 | medium
4 | C10 | Basement raft concrete grade 40MPa | m3 | 3600 | 1550000 | 5580000000 | low
5 | C20 | Waterproofing, basement tanking | m2 | 11000 | 385000 | 4235000000 | high
6 | C30 | Reinforcement bar, cut bend and fix | kg | 1450000 | 17500 | 25375000000 | medium
7 | D10 | Structural steel frame, fabricated | kg | 980000 | 32000 | 31360000000 | low
8 | E10 | Metal deck roof with insulation | m2 | 8800 | 685000 | 6028000000 | low
9 | F10 | Facade, aluminium composite panel, high spec | m2 | 6400 | 3150000 | 20160000000 | medium
10 | G20 | Hygiene package, high spec | nr | 96 | 5800000 | 556800000 | high
11 | H10 | Electrical installation, main LV | sum | 1 | 12400000000 | 12400000000 | low
12 | H20 | Fire protection, sprinkler and hydrant | sum | 1 | 5600000000 | 5600000000 | medium
13 | H30 | HVAC, VRF system, medium spec | m2 | 31500 | 1950000 | 61425000000 | low
14 | J20 | Escalator, indoor | nr | 8 | 1450000000 | 11600000000 | low
15 | K10 | Landscape and external lighting | sum | 1 | 3250000000 | 3250000000 | medium
16 | L10 | Preliminaries, insurances and bonds | sum | 1 | 15800000000 | 15800000000 | low

## Basis
Basis notes
Synthetic fixture for the PPM ingest pipeline.
Rate basis: all_in. Area basis: GFA.